Public Notice Mandatory Language for Monitoring and Reporting Violation

Operational Evaluation Report

The Oak Trail Shores water system PWS ID TX1110004 has violated the monitoring and reporting requirements set by the Texas Commission on Environmental Quality (TCEQ) in Chapter 30, Section §290, Subchapter F. Public water systems in exceedance of an operation evaluation level are required to conduct an evaluation of their source water, treatment and distribution operations and submit a report of their findings to the TCEQ.

We failed to conduct an operation evaluation and/or submit a report to the TCEQ by the required date.

This violation occurred in the monitoring period quarter one 2024.

We are taking the following actions to address this issue:

The Utility completed the first quarter 2024 operational evaluation report. Due to an administrative error the report was not submitted to TCEQ until after the deadline.

Please share this information with all people who drink this water, especially those who may not have received this notice directly (i.e., people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

If you have questions regarding this matter, you may contact Chuck Barry at (512) 531-6271.